Table 1: Physico-chemical analysis of the effluent of battery industry

| Parameter | Effluent range | NEQs for industrial effluent * | Agriculture standard values (WHO)** |
| --- | --- | --- | --- |
| Temperature | 30-350C | 40 0C | 40 0C |
| pH | 2.1 | 6-10 | 6.5-8.5 |
| TDS | 9930 | 3500 mg/l. | 450-2000 mg/l |
| Pb | 10 mg /L | 0.5 mg/l | > 0.5 mg/l |
| Cd | 0.036 mg /L | 0.1 mg/l. | 0.01 mg/l |
| Cr | 0.076 mg /L | 1.0 mg/l. | 0.1 mg/l |
| Cu | 0.097 mg /L | 1.0 mg/l. | 0.01 mg/l |

* National environmental quality standards (NEQs) for municipal and liquid industrial effluents (mg/l; the Gazette of Pakistan, Extra, August 10, 2000.

**World Health organization, Guidelines for drinking water quality. 1993.

Table 2: Removal of Heavy metal from effluent.

| Heavy metals (HMs) | HMs in effluent 1st day (mg/l) | Plants in effluent | HMs in effluent 21st day (mg/l) | % age decrease of HMs from effluent | NEQs for industrial effluent * | Agriculture standard values (WHO)** |
| --- | --- | --- | --- | --- | --- | --- |
| Pb | 10 (mg/l) | E. crassipes | 0.027 | 100% | 0.5 mg/l | > 0.5 mg/l |
|  |  | P. stratiotes | 0.2 | 98% |  |  |
|  |  | H. umbellata | 1.5 | 85% |  |  |
| Cd | 0.036 (mg/l) | E. crassipes | 0.005 | 86% | 0.1 mg/l. | 0.01 mg/l |
|  |  | P. stratiotes | 0.000 | 100% |  |  |
|  |  | H. umbellata | 0.000 | 100% |  |  |
| Cr | 0.076 (mg/l) | E. crassipes | 0.000 | 100% | 1.0 mg/l. | 0.1 mg/l |
|  |  | P. stratiotes | 0.000 | 100% |  |  |
|  |  | H. umbellata | 0.000 | 100% |  |  |
| Cu | 0.097 (mg/l) | E. crassipes | 0.007 | 93% | 1.0 mg/l. | 0.01 mg/l |
|  |  | P. stratiotes | 0.000 | 100% |  |  |
|  |  | H. umbellata | 0.000 | 100% |  |  |

* National environmental quality standards (NEQs) for municipal and liquid industrial effluents (mg/l; the Gazette of Pakistan, Extra, August 10, 2000.

**World Health organization, Guidelines for drinking water quality. 1993

Table 3:  Means showing heavy metals (Pb, Cd, Cr and Cu) accumulation values.

| Treatment | Pb | Cd | Cr | Cu |
| --- | --- | --- | --- | --- |
| E. crassipes | 1412.9A | 75.97B | 116.32B | 19.068C |
| P. stratiotes | 958.9B | 28.35C | 119.41A | 28.47A |
| H. umbellata | 517.4C | 103.49A | 91.00C | 20.603B |
| LSD (5%) | 3.4298 | 1.0470 | 1.6813 | 0.9616 |